## Slide 1: Fire Detection, Prevention & Defense (FDPD) System
By Uchenna F. Okoye
An IOT Approach to A State-Of-The-Art Fire Protection System

## Slide 2: Why FDPD?
Fire kills more people each year than all natural disasters combined
Many people are unaware of fire protection and safety precautions
A state-of-the-art system can save lives and hundreds of thousands in losses

## Slide 3: A Smart Solution
What We Offer:
  Prevention
  Detection
  Defense
Our Tools:
  A user-facing app (developed in Android and/or iOS)
  Sensors & Smart Devices (i.e. smart outlets, smart sensors)
  Raspberry Pi/Arduino for automation/Defense

## Slide 4: Fire Safety: The Regular Routine
Smoke Alarm
  Change batteries every year
  Replace Every 10 years
  One smoke alarm per floor
  Test every month
Carbon MonoOxide Sensor
  Replace every five to 10 years

## Slide 5: Prevention: How IOT Can Help
Reminders:
  Get reminders for monthly and yearly routines
  Ability to Customize reminders
Education: In-app videos on how to test smoke and carbon monoxide sensors
Automatic Detection (non-MVP*):
  Notify you when alarm batteries run low
  Notify you if the alarm or carbon monoxide is no longer working

## Slide 6: Detection: How IOT Can Help
Monitor:
  Monitor all outlets that have something plugged in using Android app
  Monitor when heat or smoke levels rise in house
Detection & Alert:
  Get notified if outlet is left plugged in for hours
  Get notified when your smoke alarm goes off and in what location

## Slide 7: Defense: How IOT Can Help
Automatic Danger Control
  Automatically turn off outlets power and stove power in the problem causing area
  Set off the water sprinkler in home or any water outlets
Alert:
  Call fire department upon fire detection
  Alert all members of family through app
Education: In-app videos on what to do in a fire

## Slide 8: Rewards System
Changing your alarm batteries regularly
Checking smoke detector every month
Using ion or other alarms depending on home/apartment
Watching the in-app videos on safety

## Slide 9: Feasible In 10 Weeks?
Definitely! At least the minimal viable product.
Implement the basic features to provide users with prevention, detection and defense tools